Monday, 21st August 2023

| Time (Hrs) | Activities |
| --- | --- |
| 09:00 – 09:15 A.M. | Inauguration and introduction of Trainees and Trainer |
| 09:15 – 09:45 A.M. | Terms and Definitions (A) |
| 09.45 – 10.15 A.M | Standards and Guidelines for the statistical treatment of PT data (B) |
| 10.15 – 10.30 A.M | Changes in the new ISO/IEC 17043:2023 Standard |
| 10.30 – 11.00 A.M | New requirements of ISO/IEC 17043 – Clause 4, 5 (C) |
| 11.00 – 11:15 A.M. | Tea Break |
| 11:15 – 01:15 P.M. | New requirements of ISO/IEC 17043 – Clause 6 & 7.1 to 7.2 (C) |
| 01:15 – 02:00 P.M. | Lunch |
| 02:00 – 04:00 P.M. | New requirements of ISO/IEC 17043 – Clause 7.3 to 7.7(C) |

Tuesday, 22nd August 2023

| Time (Hrs) | Activities |
| --- | --- |
| 09:00 – 09.30 A.M. | Recapitulation day 1 |
| 09.30 – 10.15 A.M. | New requirements of ISO/IEC 17043 – Clause 8 (C) |
| 10.15 – 11.00 A.M | Homogeneity & stability assessment (D) |
| 11:00 – 11:15 A.M. | Tea Break |
| 11.15 – 11:45 A.M | Exercise 1 on homogeneity & stability |
| 11:45 – 12.30 P.M. | Assigned Value and its uncertainty (E) |
| 12.30 – 01.15 P.M | Exercise 2 on Assigned Value from one lab |
| 01:15 – 02:00 P.M. | Lunch |
| 02:00 – 02:45 P.M. | Evaluation criteria and perfromance evaluation (F) |
| 02.45 – 03.15 P.M | Algorithm (G) |
| 03.15 – 03:45 P.M. | Exercise 3 on Algorithm A |
| 03.45 – 04.00 P.M | Exercise 4 on nIQR |

Wednesday 23rd August 2023

| Time (Hrs) | Activities |
| --- | --- |
| 09:00 – 09:30 A.M. | Recapitulation day 2 |
| 09.30 – 10.00 A.M. | Grubbs test (H) |
| 10.00 – 10.30 A.M | Exercise 5 on Grubbs test |
| 10.30 – 11.15 A.M | Identification of Blunders (outliers) (I) |
| 11:15 – 11:30 A.M. | Tea Break |
| 11.30 – 12.15 P.M | Exercise 6 on Identification of blunders |
| 12.15 – 12.45 P.M | Validation of Assigned value (J) |
| 12.45 – 01.15 P.M | Exercise 7 on Validation of Assigned value |
| 01:15 – 02:00 P.M. | Lunch |
| 02.00 – 02.30 P.M | Statistics for Small number of participants (K) |
| 02.30 – 03.15 P.M | Exercise 8 on Small number of participants |
| 03.15 – 03.45 P.M | Design and analysis of Qualitative data (L) |
| 03.45 – 04.15 P.M | Exercise 9 on qualitative and semi quantitative schemes |